## หน้าปก
โครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง
เจ้าของโครงการ : มหาวิทยาลัยราชภัฏอุดรธานี
สถานที่ติดตั้ง : มหาวิทยาลัยราชภัฏอุดรธานี สามพร้าว
มหาวิทยาลัยราชภัฏอุดรธานี สามพร้าว อำเภอเมือง จังหวัดอุดรธานี 41000
จัดทำโดย
ฝ่ายออกแบบ มหาวิทยาลัยราชภัฏอุดรธานี
เลขที่ 64 ถนนทหาร ตำบลหมากแข้ง อำเภอเมือง จังหวัดอุดรธานี 41000 โทร 042-211040

## 2. ปร.5
แบบสรุปค่าก่อสร้าง
โครงการ : โครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง | สถานที่ก่อสร้าง
สถานที่ก่อสร้าง : มหาวิทยาลัยราชภัฎอุดรธานี อ.เมือง จ.อุดรธานี 41000
แบบเลขที่ : .
หน่วยงานเจ้าของโครงการ : มหาวิทยาลัยราชภัฎอุดรธานี
แบบ ปร.4 ที่แนบ จำนวน .. หน้า
คำนวณราคากลางเมื่อวันที่ เดือน พ.ศ. หน่วย : บาท
ลำดับ | ลักษณะงาน | จำนวนเงิน |  | หมายเหตุ
1 | ส่วนที่ 1: งานก่อสร้าง
| สรุปราคางานโครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง | 0 | .- บาท
.- บาท
| ค่า Factor F 1.15 | 0 | .- บาท
| รวมเป็นเงิน งานส่วนที่ 1: งานก่อสร้าง | 0 | .- บาท
2 | ส่วนที่ 2: งานครุภัณฑ์
|  | 0 | .- บาท
| ภาษีมูลค่าเพิ่ม ร้อยละ 7 | 0 | .- บาท
| รวมเป็นเงิน งานส่วนที่ 2: งานครุภัณฑ์ | 0 | .- บาท
| รวมค่าก่อสร้างทั้งหมด | 0 | .- บาท
…................................ ประธานกรรมการกำหนดราคากลาง
…....................................... กรรมการกำหนดราคากลาง
…............................ กรรมการกำหนดราคากลาง
….............................. กรรมการกำหนดราคากลาง
…............................ กรรมการและเลขานุการกำหนดราคากลาง

## 1. ปร.6
แบบสรุปค่าก่อสร้าง
โครงการ : โครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง | สถานที่ก่อสร้าง
สถานที่ก่อสร้าง : มหาวิทยาลัยราชภัฎอุดรธานี อ.เมือง จ.อุดรธานี 41000
แบบเลขที่ : .
หน่วยงานเจ้าของโครงการ : มหาวิทยาลัยราชภัฎอุดรธานี
แบบ ปร.4 ที่แนบ จำนวน .. หน้า
คำนวณราคากลางเมื่อวันที่ เดือน พ.ศ. หน่วย : บาท
ลำดับ | ลักษณะงาน | จำนวนเงิน |  | หมายเหตุ
1 | ส่วนที่ 1: งานก่อสร้าง
| สรุปราคางานโครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง | 0 | .- บาท
.- บาท
| ค่า Factor F 1.15 | 0 | .- บาท
| รวมเป็นเงิน งานส่วนที่ 1: งานก่อสร้าง | 0 | .- บาท
2 | ส่วนที่ 2: งานครุภัณฑ์
|  | 0 | .- บาท
| ภาษีมูลค่าเพิ่ม ร้อยละ 7 | 0 | .- บาท
| รวมเป็นเงิน งานส่วนที่ 2: งานครุภัณฑ์ | 0 | .- บาท
| รวมค่าก่อสร้างทั้งหมด | 0 | .- บาท
| ปรับลดราคาค่าก่อสร้าง | 0 | .- บาท
| ราคากลาง | 0 | .- บาท
ศูนย์บาทถ้วน
…..................................... ประธานกรรมการกำหนดราคากลาง
…....................................... กรรมการกำหนดราคากลาง
…............................... กรรมการกำหนดราคากลาง
…................................... กรรมการกำหนดราคากลาง
…......................... กรรมการและเลขานุการกำหนดราคากลาง

## 3.1 ปร.4 TOTAL
รายการประมาณราคาโครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง
สถานที่ก่อสร้าง มหาวิทยาลัยราชภัฏอุดรธานี แบบเลขที่ - รายการเลขที่ - .
ฝ่าย/งาน ฝ่ายออกแบบมหาวิทยาลัยราชภัฏอุดรธานี สำนัก/กอง - กรม - .
ประมาณการโดย มหาวิทยาลัยราชภัฏอุดรธานี เมื่อวันที่ เดือน พ.ศ. .
ลำดับที่ | รายการ | จำนวน | หน่วย | ราคาวัสดุสิ่งของ |  | ค่าแรง |  | ค่าวัสดุและแรงงาน | หมายเหตุ
|  |  |  | ราคาต่อหน่วย | จำนวนเงิน | ราคาต่อหน่วย | จำนวนเงิน
| สรุปค่าก่อสร้าง | [7 empty] | คิดเป็น %
ส่วนที่ 1: งานก่อสร้าง
1 | สรุปราคางานโครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง |  |  |  | 0 |  | 0 | 0 | 0%
| รวมค่างานก่อสร้างทั้งหมด |  |  |  | 0 |  | 0 | 0 | 0%
ส่วนที่ 2: งานครุภัณฑ์
| รวมค่างานครุภัณฑ์ทั้งหมด |  |  |  | 0 |  | 0 | 0
| รวมราคาวัสดุและค่าแรงเป็นเงิน ทั้งหมด |  |  |  | 0 |  | 0 | 0 | 0%

## 4.1 ปร.4 Lighting
รายการประมาณราคาโครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง
สถานที่ก่อสร้าง มหาวิทยาลัยราชภัฏอุดรธานี แบบเลขที่ - รายการเลขที่ - .
ฝ่าย/งาน ฝ่ายออกแบบมหาวิทยาลัยราชภัฏอุดรธานี สำนัก/กอง - กรม - .
ประมาณการโดย มหาวิทยาลัยราชภัฏอุดรธานี เมื่อวันที่ เดือน พ.ศ. .
ลำดับที่ | รายการ | จำนวน | หน่วย | ราคาวัสดุสิ่งของ |  | ค่าแรง |  | ค่าวัสดุและแรงงาน | หมายเหตุ
|  |  |  | ราคาต่อหน่วย | จำนวนเงิน | ราคาต่อหน่วย | จำนวนเงิน
| สรุปค่างาน โครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง | [7 empty] | คิดเป็น %
1 | Street Lighting Zone 1 |  | รวม
2 | Street Lighting Zone 2 |  | รวม
3 | Street Lighting Zone 3 |  | รวม
4 | Street Lighting Zone 4 |  | รวม
5 | Street Lighting Zone 5 |  | รวม
6 | Street Lighting Zone 6 |  | รวม
7 | Street Lighting Zone 7 |  | รวม
8 | Street Lighting Zone 8 |  | รวม
9 | Street Lighting Zone 9 |  | รวม
10 | งานอื่นๆ |  | รวม
| สรุปราคางานโครงการ ปรับปรุงระบบไฟฟ้าส่องสว่าง |  |  |  | 0 |  | 0 | 0 | 0%
1 | Street Lighting Zone 1
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 2 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 2 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 8 | Set
| - Handhole | 2 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - Lighting Control Panel /with Support & accessories | 2 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 104 | m.
| - 1x4 sq.mm. | 32 | m.
Conduit
| - HDPE PN6 63 mm. | 8 | m.
| Fitting & Accessories | 1 | Lot
| Total Electrical Power&Control. |  |  |  | 0 |  | 0 | 0
| Total Street Lighting Zone 1 |  |  |  | 0 |  | 0 | 0
2 | Street Lighting Zone 2
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 6 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 6 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 24 | Set
| - Handhole | 6 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 6 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 2488 | m.
| - 1x4 sq.mm. | 2400 | m.
| - 1x6 sq.mm. | 2000 | m.
| - 1x25 sq.mm. | 80 | m.
Conduit
| - HDPE PN6 63 mm. | 850 | m.
| - HDPE PN6 90 mm. | 50 | m.
| - HDPE PN6 110 mm. | 50 | m.
| Fitting & Accessories | 1 | Lot
| Total Electrical Power&Control. |  |  |  | 0 |  | 0 | 0
| Total Street Lighting Zone 2 |  |  |  | 0 |  | 0 | 0
3 | Street Lighting Zone 3
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 5 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 5 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 20 | Set
| - Handhole | 5 | Set
| - Lighting pole 9 m. Double Arm. | 14 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 14 | Set
| - LED Street Light 150 Watt. 3000±300 K. IP65 | 28 | Set
| - Handhole | 14 | Set
| - Lighting pole 6 m. Single Arm. | 8 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 8 | Set
| - LED Street Light 100 Watt. 3000±300 K. IP65 | 8 | Set
| - Handhole | 8 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 5 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 2568 | m.
| - 1x4 sq.mm. | 3520 | m.
| - 1x6 sq.mm. | 2400 | m.
| - 1x10 sq.mm. | 300 | m.
| - 1x35 sq.mm. | 1600 | m.
Conduit
| - HDPE PN6 63 mm. | 1000 | m.
| - HDPE PN6 90 mm. | 600 | m.
| - HDPE PN6 110 mm. | 50 | m.
| Fitting & Accessories | 1 | Lot
Total Electrical Power&Control.
| Total Street Lighting Zone 3 |  |  |  | 0 |  | 0 | 0
4 | Street Lighting Zone 4
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 3 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 3 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 12 | Set
| - Handhole | 3 | Set
| - Lighting pole 9 m. Double Arm. | 6 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 6 | Set
| - LED Street Light 150 Watt. 3000±300 K. IP65 | 12 | Set
| - Handhole | 6 | Set
| - Lighting pole 9 m. Single Arm. | 28 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 28 | Set
| - LED Street Light 150 Watt. 3000±300 K. IP65 | 28 | Set
| - Handhole | 28 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 3 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 2246 | m.
| - 1x4 sq.mm. | 5960 | m.
| - 1x6 sq.mm. | 4800 | m.
| - 1x10 sq.mm. | 200 | m.
| - 1x35 sq.mm. | 800 | m.
Conduit
| - HDPE PN6 63 mm. | 1325 | m.
| - HDPE PN6 90 mm. | 300 | m.
| - HDPE PN6 110 mm. | 50 | m.
| Fitting & Accessories | 1 | Lot
| Total Electrical Power&Control. |  |  |  | 0 |  | 0 | 0
| Total Street Lighting Zone 4 |  |  |  | 0 |  | 0 | 0
5 | Street Lighting Zone 5
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 1 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 1 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 4 | Set
| - Handhole | 1 | Set
| - Lighting pole 9 m. Double Arm. | 12 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 12 | Set
| - LED Street Light 150 Watt. 3000±300 K. IP65 | 24 | Set
| - Handhole | 12 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 1 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 794 | m.
| - 1x4 sq.mm. | 80 | m.
| - 1x6 sq.mm. | 2640 | m.
| - 1x25 sq.mm. | 640 | m.
Conduit
| - HDPE PN6 63 mm. | 520 | m.
| - HDPE PN6 90 mm. | 100 | m.
| - HDPE PN6 110 mm. | 30 | m.
| Fitting & Accessories | 1 | Lot
Total Electrical Power&Control.
| Total Street Lighting Zone 5 |  |  |  | 0 |  | 0 | 0
6 | Street Lighting Zone 6
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 2 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 2 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 8 | Set
| - Handhole | 2 | Set
| - Lighting pole 6 m. Single Arm. | 31 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 31 | Set
| - LED Street Light 100 Watt. 3000±300 K. IP65 | 31 | Set
| - Handhole | 31 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 2 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 2328 | m.
| - 1x4 sq.mm. | 2080 | m.
| - 1x6 sq.mm. | 5110 | m.
| - 1x25 sq.mm. | 440 | m.
Conduit
| - HDPE PN6 63 mm. | 1350 | m.
| - HDPE PN6 90 mm. | 100 | m.
| - HDPE PN6 110 mm. | 30 | m.
| Fitting & Accessories | 1 | Lot
Total Electrical Power&Control.
| Total Street Lighting Zone 6 |  |  |  | 0 |  | 0 | 0
7 | Street Lighting Zone 7
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 1 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 1 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 4 | Set
| - Handhole | 1 | Set
| - Lighting pole 6 m. Single Arm. | 7 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 7 | Set
| - LED Street Light 100 Watt. 3000±300 K. IP65 | 7 | Set
| - Handhole | 7 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 1 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 772 | m.
| - 1x4 sq.mm. | 1200 | m.
| - 1x6 sq.mm. | 1660 | m.
| - 1x25 sq.mm. | 1200 | m.
Conduit
| - HDPE PN6 63 mm. | 600 | m.
| - HDPE PN6 90 mm. | 50 | m.
| - HDPE PN6 110 mm. | 30 | m.
| Fitting & Accessories | 1 | Lot
| Total Electrical Power&Control. |  |  |  | 0 |  | 0 | 0
| Total Street Lighting Zone 7 |  |  |  | 0 |  | 0 | 0
8 | Street Lighting Zone 8
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 1 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 1 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 4 | Set
| - Handhole | 1 | Set
| - Lighting pole 6 m. Single Arm. | 13 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 13 | Set
| - LED Street Light 100 Watt. 3000±300 K. IP65 | 13 | Set
| - Handhole | 13 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 1 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 634 | m.
| - 1x4 sq.mm. | 1460 | m.
| - 1x6 sq.mm. | 50 | m.
| - 1x25 sq.mm. | 200 | m.
Conduit
| - HDPE PN6 63 mm. | 470 | m.
| - HDPE PN6 90 mm. | 50 | m.
| - HDPE PN6 110 mm. | 30 | m.
| Fitting & Accessories | 1 | Lot
| Total Electrical Power&Control. |  |  |  | 0 |  | 0 | 0
| Total Street Lighting Zone 8 |  |  |  | 0 |  | 0 | 0
9 | Street Lighting Zone 9
Street Lighting.
| - Lighting pole 9 m. Tapered Steel Round Pole Thickness 4.0±0.2 mm. Hot Dip Galvanized & Support & accessories | 1 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 1 | Set
| - LED Flood Light 250 Watt. 3000±300 K. IP65 | 4 | Set
| - Handhole | 1 | Set
| - Lighting pole 6 m. Single Arm. | 8 | Set
| - Outdoor Area Lighting Concrete Foundation & Base Bolt | 8 | Set
| - LED Street Light 100 Watt. 3000±300 K. IP65 | 8 | Set
| - Handhole | 8 | Set
| Total Street Lighting. |  |  |  | 0 |  | 0 | 0
Electrical Power&Control.
| - DB Lighting Control Panel /with KWh meter & Support & accessories | 1 | Lot
| - Lighting Control Panel /with Support & accessories | 1 | Lot
Wiring & Wire
NYY
| - 1x2.5 sq.mm. | 784 | m.
| - 1x4 sq.mm. | 2560 | m.
| - 1x6 sq.mm. | 30 | m.
| - 1x25 sq.mm. | 120 | m.
Conduit
| - HDPE PN6 63 mm. | 330 | m.
| - HDPE PN6 90 mm. | 30 | m.
| - HDPE PN6 110 mm. | 30 | m.
| Fitting & Accessories | 1 | Lot
| Total Electrical Power&Control. |  |  |  | 0 |  | 0 | 0
| Total Street Lighting Zone 9 |  |  |  | 0 |  | 0 | 0
10 | งานอื่นๆ
| - งานปรับปรุงเสาไฟฟ้าส่องสว่างเดิม (เสาเอียงปรับให้ตรง) | 15 | Set
| - งานวางท่อร้อยสาย HDPE ผ่านถนน คสล. | 1 | Lot
| Total Street Lighting Zone 9 |  |  |  | 0 |  | 0 | 0 |  | 0
| สรุปราคางานปรับปรุงระบบไฟฟ้าส่องสว่าง |  |  |  | 0 |  | 0 | 0
0